
AMENDMENT TO THE BID DOCUMENT

Amendment Date:  October 14, 2022
SKFR FIRE FACILITY FUEL TANK PROJECT BID
A.  This Amendment shall be considered part of the bid documents for the above-mentioned project as though it had been issued at the same time and shall be incorporated integrally therewith.  Where provisions of the following supplementary data differ from those of the original bid documents, this Amendment shall govern and take precedence. BIDDERS MUST SIGN THE AMENDMENT AND SUBMIT IT WITH THEIR BIDS.

B.  Bidders are hereby notified that they shall make any necessary adjustments in their estimates as a result of this Amendment.  It will be construed that each bidder's proposal is submitted with full knowledge of all modifications and supplemental data specified herein.

Except as described below, the original bid document remains unchanged.  The bid documents are modified and/or clarified as follows: 

1. 3’ x 8’ Concrete Pad: Pour a 3’ x 8’ concrete pad to hold the Fuel Master Station and 2 pedestals for diesel and gasoline. This pad must be the same height as the existing concrete pad, 6” in thickness/height, with rebar as reinforcements. The planned poured concrete pad is adjacent, on the west side, to the original concrete pad. The area shaded in light yellow in the diagram is the proposed addition under Exhibit A.
2. 2 Fuel Pedestals: Add two pedestals for diesel and gasoline.
3. 12 Bollards: Add 11 concrete bollards around the fuel system. The north, west, and east area surrounding the original 8’ x 12’ concrete pad is soil. The technical specifications are listed in Exhibit B.
Exhibit A
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Exhibit B
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If you need further directions regarding the location of this pre-bid conference, please contact Mitchell Lee at Mitchell.lee@southkingfire.org or phone 253-296-6515.
BIDDER MUST ACKNOWLEDGE THIS AMENDMENT BY SIGNING BELOW

AND ATTACHING THE SIGNED AMENDMENT TO THE BID FORM:
Company Name ______________________________________

Contact Person _______________________________________

Signature ____________________________________________

Date _________________________________________________

Mitchell Lee
South King Fire & Rescue, Director Enterprise Services
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